**AMENDMENT No. 3 TO PROCUREMENT DOCUMENTS**

**Issued on** **8th of June 2020**

**FOR** **THE PROCUREMENT OF DIAGNOSTIC AND INTERVENTION IMAGING EQUIPMENT FOR CLINICAL CENTER ZEMUN**

**NO. IOP/37-2019/UHI**

In accordance with the Clause 8. Part 1. Bidding Procedures, Section I. Instructions to Bidders, Contents of Bidding Documents, Amendment of Bidding Documents of the Procurement Documents, Public Investment Management Office, No. 11 Nemanjina street, Republic of Serbia, as the Purchaser, hereby notifies all persons concerned for Procurement of Diagnostic and Intervention Imaging Equipment for Clinical Center Zemun, No. IOP/37-2019/UHI, that there has been an amendment made in the Procurement Documents.

The following provisions of Tender Documents are hereby replaced as follows:

1. **Tender Documents are changed in Technical Specification, Lot 2, CT Scanner, Line item no. 1. Volume CT Scanner with injector, ID 7, which reads as follows:**

Scanning range in horizontal direction with extensions at least 200 cm

**Is replaced and reads as follows:**

Scanning range in horizontal direction with extensions at least 185 cm

In all other aspects, Tender documents for the Procurement of Diagnostic and Intervention Imaging Equipment for Clinical Center Zemun, No. IOP/37-2019/UHI, remains unchanged.

This Amendment to Procurement Documents is a constituent part of the Procurement of Diagnostic and Intervention Imaging Equipment for Clinical Center Zemun, No. IOP/37-2019/UHI and will be posted on the Purchaser’s web site: <http://www.obnova.gov.rs/english/public-procurement>

Updated version of technical specifications are given in excel file and is constituent part of this amendment.

In order to submit a responsive bid, bidders are expected to prepare their offers in accordance with this amendment.

Public Procurement Committee