**PROCUREMENT OF EQUIPMENT FOR BIOSENSE INSTITUTE IN NOVI SAD, SERBIA**

**(PROCUREMENT NO. IOP/41-2019/RD)**

**CLARIFICATION NO. 12**

Issued on April 10, 2020

Regarding the list of questions that the Purchaser, Public Investment Management Office Belgrade, No. 11 Nemanjina street, have received from the potential bidders, concerning the procurement procedure: Procurement of Equipment for BioSense Institute in Novi Sad, Serbia no. IOP/41-2019/RD, we give you the following answers:

**Question 1:**

For Lot number 7, Biosystems,

- ID 7.9 Benchtop Biosafety cabinet

question: Biosafety laminar flow cabinet among UV lamp has one more lamp. Fluorescence lamp in new modern biosafety cabinet are replaced with LED lamps. Please, confirm that we can offer biosafety cabinet with LED lamp.

- ID 7.15 PCR machine

please confirm that we can offer the unit with temperature accordance at least +-0,25C which is better than requested

**Answer 1:**

- ID 7.9 Benchtop Biosafety cabinet

It is acceptable that the biosafety cabinet with LED lamps instead of Fluorescence lamp.

- ID 7.15 PCR machine

Since temperature accuracy is better then requested this change is acceptable.

Public Procurement Committee