**PROCUREMENT OF EQUIPMENT FOR BIOSENSE INSTITUTE IN NOVI SAD, SERBIA**

**(PROCUREMENT NO. IOP/41-2019/RD)**

**CLARIFICATION NO. 15**

Issued on April 23, 2020

Regarding the list of questions that the Purchaser, Public Investment Management Office Belgrade, No. 11 Nemanjina street, have received from the potential bidders, concerning the procurement procedure: Procurement of Equipment for BioSense Institute in Novi Sad, Serbia no. IOP/41-2019/RD, we give you the following answers:

**Question 1:**

ID 7.14 Portable Mini real-time PCR

Please, confirm that we can offer the portable mini Real-time PCR wich is weight 2,5kg, Temperature cycling systems from 37-99C ( better then is requested), run time less then 60 minutes

**Answer 1:**

We consider that the temperature cycling system with better characteristics is more important than the small difference in weight and run time, therefore it is acceptable for us to offer suggested Real-time PCR system.

**Clarification 2:**

Should we deliver the Manufacturer authorizations hard copy original from the producer or it is acceptable the email printed version.

**Answer 2:**

The Bidder can submitted the Manufacturer authorization in the email printed version.

Public Procurement Committee