## Price Schedule
Bidder:
ID | Equipment name | QTY | Unit price | Total price per item
1.1 | Bedside cabinet | 73
1.2 | Mechanical hospital bed | 35
1.3 | I.V. STAND with 2 hooks | 90
1.4 | Ward screen | 11
1.5 | Swivel stool for examinations | 53
1.6 | Swivel stool | 20
1.7 | Treatment trolley1 | 23
1.8 | Treatment trolley2 | 27
1.9 | UV lamp mobile | 8
1.1 | UV lamp wall mounted | 30
1.11 | Laundry bag-holder trolley | 12
1.12 | Overbed table | 10
1.13 | Mounting step | 20
1.14 | Medical x-ray negatoscope single | 15
1.15 | Medical x-ray negatoscope double | 5
1.16 | Chair for internal use | 12
1.17 | Therapy and blood sampling chair | 4
1.18 | Gyn chair for examinations and interventions | 3
1.19 | Urology table | 1
1.2 | Examination couch low | 39
1.21 | Examination couch high | 23
1.22 | Strecher | 3
1.23 | Dry sterilizer | 1
1.24 | Fridge | 15
2.1 | Polyclinic non medical furniture | 1
2.2 | Neurology non medical furniture | 1
2.3 | Pediatrics non medical furniture | 1
3 | Kitchen | 1
Total Price

## Furniture 1
Bidder:
LOT |  |  |  |  | Date:
Total DAP price:
Line item No. | ID |  | Technical Specification Offered | QTY | DAP Unit price | Total Price per line item | Insert page no. in techical documentation
1 | 1.1 | Bedside cabinet |  | 73 |  | 0
| 1 | Night cabinet fully made of steel sheet finished with Epoxy powder.
| 2 | Top plate is made of polystyrene, and has an edge height of 15mm denying swelling liquid due to an accidental spill
| 3 | Doors and drawers mask is made of plywood who is coated with polystyrene d=3mm at the front and sides.
| 4 | In the lower part there is a barrier of steel that creates two arrays.
| 5 | The wing doors and drawers do not have handles for carrying out disinfection. For this reason, there is a distance of at least 3 cm between drawers and door which enables opening them.
| 6 | Drawer can be easily removed from the slider to perform cleaning and disinfection
| 7 | Mobility provides the wheels with brakes
| 8 | Dimensions: width x depth x height - 45x40x80 ±5cm
2 | 1.2 | Mechanical hospital bed |  | 35 |  | 0
| 1 | Bed is made of steel profiles final protected with powder coating
| 2 | Manually raising of the dorsal segment
| 3 | Horizontal surfaces made of steel wire in the form of mesh with opening of 50x50mm
| 4 | The sides of the bed are made of ABS with a possibility of removing.
| 5 | Bed relies on four swivel wheels diameter 125mm ( 2 of them with brake)
| 6 | Bed have guardrails made of aluminium
| 7 | Guardrail can be felled, and has automatically interlock when the fence is in the protective position
| 8 | Guardrail is formed with 6 poles screened according to standard EN 60601-2-52
| 9 | Dimensions of the bed: length x width - 205cm x 90cm ±5cm
| 10 | Capacity of minimum 160kg.
| 12 | Antidecubital mattress, height minimum 14cm, made only of foam density 30kg/m3, made of 100% polyurethane
| 13 | Cover that is water proof, steam permeable, and have capability of boiling at 95°, have possibility of sterilisation at temperatures of 134°, upper layer made of 100% polyurethane.
3 | 1.3 | I.V. STAND with 2 hooks |  | 90 |  | 0
| 1 | Made of steel profile
| 2 | Protection: powder coating
| 3 | With wheels
| 4 | Adjustable height
| 5 | Height adjustable from 120cm to 220cm
| 6 | Carrying capacity of 20kg
4 | 1.4 | Ward screen |  | 11 |  | 0
| 1 | Mobile screen frame
| 2 | Construction: steel profiles, cotton cloth protection
| 3 | Electrostatic powder coating epoxy powder
| 4 | Movable
| 5 | Two piece sections
5 | 1.5 | Swivel stool 1 |  | 53 |  | 0
| 1 | Construction: steel profiles, sitting area made of plywood with sponge and eco leather
| 2 | Electrostatic powder coating epoxy powder protected
| 3 | Height adjustable
| 4 | Movable with wheels
| 5 | Diameter base: 40 cm
| 6 | Height adjustable from 45cm to 55cm
6 | 1.6 | Swivel stool 2 |  | 20
| 1 | Construction: steel profiles, sitting area made of plywood with sponge and eco leather
| 2 | Electrostatic powder coating epoxy powder protected
| 3 | Height adjustable
| 4 | Diameter base: 40 cm
| 5 | Height adjustable from 45cm to 55cm
| 6 | Without wheels
7 | 1.7 | Treatment trolley1 |  | 23
| 1 | Cabinet with at least 4 drawers type
| 2 | Total dim.: minimum 600x600x850mm (WxDxH)
| 3 | Plastic table top with 3-sided guard rail
| 4 | 4 swivel-mounted anti-static double castors Ø125mm with at least 2 lockers
| 5 | Worktop: Made of polystyrene or other material that is resistant to scratches and stain and can be cleaned, washed and disinfected,
| 6 | Accessories:
| 7 | Medical waste bin min. 1.5 liters
| 8 | Infusion stand
| 9 | Waste bag holder, grey white plastic casing, content approx. 8 liters, for waste bags
8 | 1.8 | Treatment trolley2 |  | 27
| 1 | Trolley for therapy
| 2 | Made of steel profiles final protected with powder coating
| 3 | Supporting surface is made of polystyrene
| 4 | The bearing surface are formed on the edges of both to prevent swelling of due to fluid possible spills
| 5 | It is easily removed for regular maintance and emergency cleaning
| 6 | Length x Width x Height - 70x50x80cm, capacity 30kg
| 7 | 2 surfaces
9 | 1.9 | UV lamp mobile |  | 8
| 1 | Dimensions: 950 x 100 x 70 cm + 10%
| 2 | Weight: 2.5 kg + 5%
| 3 | Power of UV sources: maximum 30W
| 4 | Supply voltage: 230V/50Hz
| 5 | The life of UV sources: minimum 8000 h
| 6 | Degree of protection: minimum IP20
| 7 | To be designed for direct sterilisation (disinfection) of air and surfaces in indoors.
| 8 | Floor trolley model.
10 | 1.1 | UV lamp wall mounted |  | 30
| 1 | Dimensions: 950 x 100 x 70 cm + 10%
| 2 | Weight: 2.5 kg + 5%
| 3 | Power of UV sources: maximum 30W
| 4 | Supply voltage: 230V/50Hz
| 5 | The life of UV sources: minimum 8000 h
| 6 | Degree of protection: minimum IP20
| 7 | To be designed for direct sterilisation (disinfection) of air and surfaces in indoors.
11 | 1.11 | Laundry bag-holder trolley |  | 12
| 1 | Laundry collection trolley with 1 bag-holders,
| 2 | Hinged lids operated by pedals
| 3 | Laundry net bags in polyester delivered with holders
| 4 | 4 wheels Ø 80 mm with 4 rubber bumpers
12 | 1.12 | Overbed table |  | 10
| 10 | For dining
| 11 | Height adjustment from 60-90cm + 5%
| 12 | Dining board dimensions:85x40cm + 5%
| 4 | Dining board consists of fixed and tilting section
| 6 | Equipped with four wheels min. Ø 65 mm, two with brakes
13 | 1.13 | Mounting step |  | 20
| 1 | Two steps
| 2 | Structure made of steel tube.
| 3 | Steps covered with antislip plastic material
| 4 | Rubber feet
14 | 1.14 | Medical x-ray negatoscope single |  | 15
| 1 | Dimensions 350mm x 440mm x 80mm ±50mm
| 2 | Brightness constant
| 3 | Steel frame powder coated white
| 4 | IP 20(IEC)
| 5 | Wall mounted
15 | 1.15 | Medical x-ray negatoscope double |  | 5
| 1 | Dimensions 750mm x 450mm x 80mm ±50mm
| 2 | Brightness constant
| 3 | Steel frame powder coated white
| 4 | IP 20(IEC)
| 5 | Wall mounted
16 | 1.16 | Chair for internal use |  | 10
| 10 | 5 concealed plastic double castors Ø 50 mm, interval-braked, electrically conductive
| 11 | frame made of stainless steel, electropolished
| 12 | height adjustment via threaded spindle, with locking against unscrewing
| 13 | seat cushion 60 mm thick, with synthetic leather cover, black, electrically conductive, cleanable and disinfectant resistant
| 14 | Safe workload 135 kg
| 15 | Footprint: Ø 600 mm
| 16 | Height adjustment: 500 to 650 mm
| 17 | Seat: Ø 350 mm
17 | 1.17 | Therapy and blood sampling chair |  | 4
| 1 | Dimension of lying surface (±5%) overall length of 195 cm, length of back section 95 cm, sitting section 50 cm±5% and leg section 35 cm
| 2 | Lying surface contains three parts: back, seat and leg section
| 3 | Back section and leg section has to be synchronized and adjustable by lockable gas spring
| 4 | Movement of leg section
| 5 | Movement of back section
| 6 | Height of the chair in sitting position has to be maximum 55 cm
| 7 | Support handles are attached to fixation rail and can be moved or totally removed
| 8 | Arm rests has to be attached to fixation rail. Arm rests have to be height adjustable, length adjustable (along the sitting part) and can be also totally removed
| 9 | Including paper roll holder
| 10 | Base of the chair and other metal construction has to be covered with cover from ABS and PMMA material, to ensure easy disinfection and cleaning, shaped without corners
| 11 | maximum allowed working load of minimum 300 kg
| 12 | Chair has to be equipped with individually lockable antistatic castors with diameter 125 mm
| 13 | Upholstery of the chair has to be minimum 6 cm thick with seamless endings and simulated leather, which has to be resistant to blood, urine, disinfectants, salt water etc
18 | 1.18 | Daily surgery gynaecology table |  | 4
| 1 | Electromotor adjustment of Trendelenburg position, height, seat and back section at the fixed angle of 50º. Height adjustment range from 550mm - 1000mm increasing also Trendelenburg position.
The chair must include:
| 2 | Ergonomic upholstery at the back, seat and head section
| 3 | Plastic bowl for rinsing that can be pulled in and out
| 4 | The paper roll compartment up to 500 mm wide.
| 5 | Foot switch
| 6 | 4 columns for leveling when placing the chair on uneven surface
| 8 | The chair must have multilayered powder coating making it resistant to impact and scratches and weather conditions. It has to be easy to maintain and disinfect.
| 9 | The sections must of high quality foam material covered in artificial leather upholstery
| 10 | Hand control with memory for 3 or more examination positions
| 11 | Goepel leg supports with integrated laminated hand grips and provision for vertical, horizontal and axial adjustment. The supports must have the sponge cover, tightening strap and stainless steel bars 18/10.
| 12 | Chair column and frame covered with quality laminated layer resistant to scratches
| 13 | Protective layer must be easy to clean and resistant to disinfectants
| 14 | Rinsing bowl with the holder
| 15 | Cushion at the head section attachable by magnet
| 16 | Paper roll holder located behind the back rest
| 17 | push-in plate, upholstered ,leatherette
19 | 1.19 | Urology table |  | 4
| 1 | Electromotor chair adjustment with provision for easy placement of patients who walk with difficulty by adjusting height of the seating section to 580mm or lower
| 2 | Electromotor trendeleburg adjustment
| 3 | Height adjustment range of the seating section from 600 to 900mm
| 4 | The chair must have the provision of activation through foot control
| 5 | Hand control with memory for 3 or more examination positions
| 6 | Goepel leg supports with integrated laminated hand grips and provision for vertical, horizontal and axial adjustment. The supports must have the sponge cover, tightening strap and stainless steel bars 18/10.
| 7 | Chair column and frame covered with quality laminated layer resistant to scratches
| 8 | Protective layer must be easy to clean and resistant to disinfectants
| 9 | Bowl with the rinsing system. Watersupply adjusted by the foot control. Bowl must have the stainless sieve, stainless steel bracket, liquid drain and rinsing basin
| 10 | Adapting section
| 11 | Seat section made of ergonomic upholstery. Upholstery made of artificial leather
| 12 | Plastic bowl for rinsing that can be pulled in and out
| 13 | Height adjustment range of the seating section from 600 to 900mm
| 14 | Backsection adjustment range from 0º - +50º
| 15 | Trendelenburg adjustment range from - 19º/ + 19º
| 16 | Seat section adjustment range from -5º - + 19º
| 17 | Safe carrying capacity 200kg and more
| 18 | Supporting bar for horizontal positioning (80°) of the upholstery from the backsection
| 19 | Ergonomic upholstery at the back, seating and head section.
| 20 | The paper roll compartment up to 500 mm wide.
| 21 | Upholstery width of the seating section minimum 550mm.
| 22 | 4 columns for leveling when placing the chair on uneven surface.
| 23 | Chair base, backsection covered in powder coated plastic material
| 24 | Arm rest made of integral foam, including fixation straps and clamp. Horizontally and vertically adjustable Tiltable because of the round joint
| 25 | Side rails along on both sides of the backrest for the attachment of accessories
| 26 | Connection cable at least 3m long cable.
| 27 | Power supply 230V, 50Hz, 0,45 kW
| 28 | push-in plate, upholstered ,leatherette
20 | 1.2 | Examination couch low |  | 39
| 1 | Tubular steel frame of solid construction, powdwer coated finish
| 2 | Lying surface made of chipboard upholstered sponge and eco leather
| 3 | Back section adjustable
| 4 | Safe working load minimum: 160kg
| 5 | Dimensions: 1950 x 650 x 50 mm (L x w x H)
21 | 1.21 | Examination couch high |  | 23
| 1 | Tubular steel frame of solid construction, powdwer coated finish
| 2 | Lying surface made of chipboard upholstered sponge and eco leather
| 3 | Back section adjustable
| 4 | Safe working load minimum: 160kg
| 5 | Dimensions: 1950 x 650 x 70 mm (L x w x H)
22 | 1.22 | Strecher |  | 3
| 1 | Hydraulic high/low adjustment by means of support arms
| 2 | The steel frame finished with epoxy polyester paint or better
| 3 | Trendelenburg adjustment up to ±12°
| 4 | Reverse Trendelenburg adjustment up to ±12°
| 5 | High-quality design castors Ø 200 mm, central brake with directional castor, 5th castor
| 6 | Double design pedal to activate the central brake mechanism
| 7 | The 5th castor to improve the maneuverability of the stretcher
| 8 | Width: 80 cm + 5%
| 9 | Length: 215 cm + 5%
| 10 | Height variation of the mattress platform : 50 cm - 85 cm
| 11 | Safe working load: minimim 200 kg
| 12 | Adjustable backrest min. 0-85 °
| 13 | Bed pallet permeable for the X rays
| 14 | The 4 corners to be equipped with integrated bumpers
| 15 | Sideguards for additional protection while moving the patient
| 16 | Sideguards to constitute of one unit and be lowered by means of an easy locking mechanism
| 17 | Weight (without accessories): maximum 85 kg
23 | 1.23 | Dry sterlizier |  | 1
| 1 | Volume minimum 50 L±5%
| 2 | Temperature range from + 5ºC above ambient temperature to +250ºC
| 3 | Pt 100 Class A sensor for temperature monitoring
| 4 | Single display
| 5 | Multifunctional digital PID microprocessor controller with TFT color display
| 6 | Integrated digital timer from 1min to 99 days
| 7 | The sterilization process does not start until the required temperature is reached
| 8 | Adjustment parameters: temperature, air damper position, program time, time zone, winter / summer time
| 9 | Ventilation - natural airflow with an opening on the back wall of the sterilizer with the possibility of adjusting the width of the opening
| 10 | In case of power failure, the program is saved
| 11 | Double overheating protection: adjustable electronic overheating monitor and mechanical temperature limiter TB; protection class 1, according to DIN 12880, 20 ºC above nominal temperature
| 12 | Autodiagnostic error system
| 13 | The housing and chamber are made of stainless steel
| 14 | Stainless steel door with 2 locking points
| 15 | Interior -stainless steel shelf
| 16 | Inner dimensions (WxHxD) 400x400x330 mm (+ / 5%)
| 17 | Power 2000W
24 | 1.24 | Fridge for medicines
| 1 | Dimensions(HxWxD): 85x50x55(+ / 5%)
| 2 | Integrated chiller compartment
| 3 | Energy saving
| 4 | Adjustable leg
| 5 | Reversible door
| 6 | Net volume: 100 lit. or more
| 7 | Noise level: 39dB

## Furniture 2
Line item No. | ID | Technical Specification Requested |  | Technical Specification Offered | QTY | DAP Unit price | Total Price per line item | Insert page no. in techical documentation
Furniture
| 2.1 | POLYCLINIC
| 1 | SHELF UNIT FOR STORAGE OF ARCHIVE MATERIAL | Shelf unit has 6 levels of shelves. Shelves are placed on four profiles which make up the main construction, with adjustable height of shelves. The load capacity of each shelf is 150kg. Shelf unit is open, has no doors or sides. The shelf unit is supported from the back or from the sides.
|  |  | dimensions 80x45x200cm |  | 10
| 2 | LOCKER FOR PERSONAL CLOTHES | Locker made of sheet steel with thickness of 0.8mm. Doors have ventilation openings. Locking with a cylinder lock.
|  |  | dimensions 30x50x180cm |  | 65
| 3 | WALL SHELF RACK | The construction made of box profiles 30x30mm and cantilever shelf brackets anchored into the wall. There are two shelves and they are placed one under the other at the eqal distance.
|  |  | dimensions 110x30x60cm |  | 2
|  |  | dimensions 80x30x60cm |  | 2
|  |  | dimensions 120x30x60cm |  | 1
|  |  | dimensions 180x30x60 |  | 1
|  |  | dimensions 190x30x60 |  | 2
| 4 | SET OF WALL CABINETS | Body made of chipboard, with 0.5mm ABS edge banding. The set contains wall cabinets with widths of 30, 40, 60 and 80cm, and every set has an 80cm cabinet with glass doors. “Slow motion” closing system. Body made of melamine faced chipboard in white colour, while doors are made of 19mm PVC laminated MDF in white colour.
|  |  | dimensions 180x30x72cm |  | 1
|  |  | dimensions 120x30x72cm |  | 3
| 5 | WALL-MOUNTED HOOK RACK | Hook rack made of 18mm chipboard in white colour, with 1mm ABS edge banding. In the upper part there are 6 evenly spaced hooks for clothes.
|  |  | dimensions 60x3x180cm |  | 50
| 6 | WORKING DESK FOR ADMINISTRATIVE AND MEDICAL NEEDS | Working desk for administrative and medical needs has a metal construction while the desktop is made of compact board, wear-resistant material with thickness of 10mm.
|  |  | dimensions 200x70x80cm |  | 1
| 7 | WORKING DESK FOR ADMINISTRATIVE AND MEDICAL NEEDS | Working desk for administrative and medical needs has a metal construction while the desktop is made of compact board, wear-resistant material with thickness of 10mm. Worktop for medical needs has the foundation made of 18mm chipboard, with 0.5 and 1mm edge banding and elevated part at the wall side. Made of base cabinets with doors and drawers. Standing on 15cm PVC legs. Doors made of PVC laminated 19mm MDF. The work part (for 140x70x80cm) is 100cm, and the administrative is 40cm. For the work space of 240cm, the work part is 120cm, and the administrative is 120cm.
|  |  | dimensions 140x70x80cm |  | 1
|  |  | dimensions 240x70x80cm |  | 2
| 8 | ONE-PIECE DESK WITH COMPUTER CABINET | Desk construction has metal legs. Desktop is made of wear resistant compact board, 10mm. Front made of 18mm chipboard, with 2mm ABS edge banding. Construction of the drawer cabinet made of 18mm chipboard, body in white colour with 0.5mm ABS edge banding, while drawer faces are made of chipboard in green colour with 1mm ABS edge banding. Drawer cabinet with metal handles and lock, on PVC wheels.
|  |  | dimensions 100x50x75cm |  | 5
|  |  | dimensions 120x50x75cm |  | 22
|  |  | dimensions 150x50x75cm |  | 1
|  |  | dimensions 140x50x75cm |  | 10
| 9 | WORKING DESK FOR ADMINISTRATIVE NEEDS | Consists of one or two desks and one or two drawer cabinets, depending on the necessary length. Desk construction has metal legs. Desktop is made of wear resistant compact board, 10mm. Front made of 18mm chipboard, with 2mm ABS edge banding. Construction of the drawer cabinet made of 18mm chipboard, body in white colour with 0.5mm ABS edge banding, while drawer faces are made of chipboard in green colour with 1mm ABS edge banding. Drawer cabinet with metal handles and lock, on PVC wheels.
|  |  | dimensions 140x60x75cm |  | 1
|  |  | dimensions 170x60x75cm |  | 1
|  |  | dimensions 180x60x75cm |  | 2
|  |  | dimensions 240x60x75cm |  | 1
|  |  | dimensions 160x60x75cm |  | 2
|  |  | dimensions 130x60x75cm |  | 1
| 10 | SET OF CABINETS FOR WORK WITH BABIES | Main construction made of 18mm chipboard, with 2mm ABS edge banding. Has a drawer with pull-out rail mechanism and door with slow-motion system. The doors are secured with a key and lock. The top is upholstered in antibacterial artificial leather. The body is of melamine faced chipboard in white colour, and faces are in white and blue colour (wall and base cabinet).
|  |  | Base cabinet with dimensions 80x60x87cm; wall cabinet with dimensions 80x30x90cm |  | 1
| 11 | OFFICE CHAIR, MOVABLE, WITH HEIGHT ADJUSTMENT AND ARMRESTS | Chrome-plated base construction with PVC wheels. The cylinder contains a gas pressure spring and metal sleeve. Seat, PVC and mesh. PVC armrests with chrome-plated part. Mechanism with lever for adjusting the gas pressure spring and recline and backrest. Height-adjustment mechanism. Seat made of upholstered foam, backrest made of mesh + PVC. Possible to choose the colour.
|  |  | dimensions 61x63x122cm |  | 53
| 12 | OFFICE CHAIR, MOVABLE, WITH HEIGHT ADJUSTMENT AND WITHOUT ARMRESTS | Chrome-plated base construction with PVC wheels. The cylinder contains a gas pressure spring and metal sleeve. Seat, PVC and mesh. PVC armrests with chrome-plated part. Mechanism with lever for adjusting the gas pressure spring and recline and backrest. Height-adjustment mechanism. Seat made of upholstered foam, backrest made of mesh + PVC. Possible to choose the colour.
|  |  | dimensions 48x45x96/109cm |  | 2
| 13 | COFFEE TABLE | Main construction made of 18mm chipboard, with 1mm ABS edge banding.
|  |  | dimensions 60X60X45 |  | 3
| 14 | WAITING ROOM CHAIR WITH ARMRESTS | Typical use in all health care and other premises where waiting is necessary. Ergonomic and ensures comfortable seating. Chair seat, backrest and armrests are made of materials suitable for washing and disinfection. Depending on the interior design and actual premises, it is possible to combine two-seat and three-seat and four-seat sets. Base metal construction of the sets without sharp corners, round, ⌀40mm.
Seat and backrest are separate for each sitting place, with wooden base upholstered in foam with thickness of min. 5cm. Seat and backrest have foam and are upholstered in eco leather. Possible to choose the colour.
|  |  | dimensions 60x55x45cm |  | 146
| 15 | WORKSPACE | Body made of 18mm chipboard, with 0.5mm ABS edge banding. Workspace contains base cabinets with doors and drawers with appropriate dimensions. Worktop with thickness of 28mm, wear-resistant. Cabinets are on 15cm PVC legs. Doors made of 19mm MDF with white PCV coating. Workspaces over 1.8m have double basin sink, and workspaces under 1.8m have single base sinks with drainboard.
|  |  | dimensions 200x60x90cm |  | 1
|  |  | dimensions 160x60x90cm |  | 1
|  |  | dimensions 180x60x90cm |  | 1
|  |  | dimensions 300x60x90 |  | 1
|  |  | dimensions 370x60x90cm |  | 1
| 16 | SHELF UNIT FOR ADMINISTRATION AND WARDROBE | Shelf unit/wardrobe construction made of 18mm chipboard, with 1mm ABS edge banding. Shelf unit/wardrobe is made of two parts, with one being a wardrobe, and the other consisting of evenly distributed shelves for documents. Shelf unit/wardrobe is on 10cm PVC legs. Wardrobe door secured with lock and key, with “slow motion” closing system. Door with 1mm ABS edge banding in green colour.
|  |  | dimensions 110x60x210cm |  | 5
|  |  | dimensions 90x60x210cm |  | 5
|  |  | dimensions 80x60x210cm |  | 2
|  |  | dimensions 100x60x210cm |  | 4
| 17 | RECEPTION AND ADMINISTRATION DESK | Main construction made of 18mm chipboard, with 2mm ABS edge banding. Workspace is made of wear resistant compact board, 10mm thick. Desks have movable drawer cabinets. Desk design is white with green parts.
|  |  | dimensions 200x60(30)x75(85)cm |  | 1
|  |  | dimensions 270x80(30)x75(85)cm |  | 1
|  |  | dimensions 150x80(30)x75(85)cm |  | 1
|  |  | dimensions 170x80(30)x75(85)cm |  | 2
|  |  | dimensions 140x80(30)x75(85)cm |  | 1
| 18 | RESTAURANT-DINING TABLE | Table top made of compact board in white colour 10mm thick. The top is fixed to the table leg with diameter of 60mm and metal round base.
|  |  | dimensions 80x80x75cm |  | 15
| 19 | RESTAURANT-DINING CHAIR | Used for rest, in dining room and other premises. Chair made of polypropylene with aluminum legs.
|  |  | dimensions 50x50x80 |  | 80
| 20 | BASE CABINET | Body made of 18mm chipboard, with 0.5mm ABS edge banding. Workspace contains base cabinets with doors and drawers with appropriate dimensions. Worktop with thickness of 28mm, wear-resistant. Cabinets are on 15cm PVC legs. Doors made of 19mm MDF with white PCV coating.
|  |  | dimensions 160x60x90m |  | 1
|  |  | dimensions 60x60x90cm |  | 4
|  |  | dimensions 90x60x90cm |  | 1
|  |  | dimensions 120x60x90cm |  | 1
|  |  | dimensions 80x60x90cm |  | 5
|  |  | dimensions 100x60x90cm |  | 13
|  |  | dimensions 50x45x90cm |  | 1
| 21 | SET OF SHELVING UNITS FOR STORAGE OF MATERIALS (MEDICINES) | Construction made of 18mm chipboard in white colour, with 1mm ABS edge banding. Upper part of the unit consists of two glass doors, while the lower part is made of full chipboard. Both parts are secured with lock and key and have metal handles. Legs, 10cm high, with adjustable height for levelling.
|  |  | dimensions 60x45x200 |  | 10
| 22 | WORKSPACE WITH BASIN - MINI KITCHEN | Material INOX. The workspace consists of base cabinets with doors. The workspace has a basin with dimensions 60x40x30cm. The workspace comes with electrical stove with two cooktop rings with dimensions 180mm, stove dimensions 35x60x30cm.
|  |  | dimensions 110x60x90cm |  | 1
| 23 | SET OF WALL CABINETS (stainless steel) | Construction consists of inox box profiles 30x30mm. Inox sheet with thickness of 0.8mm. Wall cabinets have shelves that can be moved to adjust height. Cabinets are closed with full sliding doors with secure locking system.
|  |  | dimensions 170x30x60cm |  | 1
|  | TOTAL POLYCLINIC: |  |  |  |  | 0
| 2.2 | NEUROLOGY
| 1 | SHELF UNIT FOR STORAGE OF ARCHIVE MATERIAL | Shelf unit has 6 levels of shelves. Shelves are placed on four profiles which make up the main construction, with adjustable height of shelves. The load capacity of each shelf is 150kg. Shelf unit is open, has no doors or sides. The shelf unit is supported from the back or from the sides.
|  |  | dimensions 80x45x200cm |  | 4
| 2 | LOCKER FOR PERSONAL CLOTHES | Locker made of sheet steel with thickness of 0.8mm. Doors have ventilation openings. Locking with a cylinder lock.
|  |  | dimensions 30x50x180cm |  | 51
| 3 | WORKSPACE WITH BASIN | The main construction of the workspace with basin consists of inox profile 30x30mm. Two basins with dimensions of 50x50x30mm are installed on the workspace. Shelf is placed in the lower part at 30cm from the floor. At the basin drain there is a manual valve which allows water to stay in the basin.
|  |  | dimensions 130x70x90cm |  | 1
| 4 | SET OF WALL CABINETS | Body made of chipboard, with 0.5mm ABS edge banding. The set contains wall cabinets with widths of 30, 40, 60 and 80cm, and every set has an 80cm cabinet with glass doors. “Slow motion” closing system. Body made of melamine faced chipboard in white colour, while doors are made of 19mm PVC laminated MDF in white colour.
|  |  | dimensions 170x30x72cm |  | 2
|  |  | dimensions 160x30x72cm |  | 2
|  |  | dimensions 150x30x72cm |  | 5
| 5 | WALL-MOUNTED HOOK RACK | Hook rack made of 18mm chipboard in white colour, with 1mm ABS edge banding. In the upper part there are 6 evenly spaced hooks for clothes.
|  |  | dimensions 60x3x180cm |  | 14
| 6 | WARDROBE | Wardrobes made of 18mm chipboard, with 1mm ABS edge banding. Doors are secured with lock and key with “slow motion” system. Wardrobes are on 10cm PVC legs with adjustable height for levelling. Doors and body in white colour, and doors have 1mm ABS edge banding in green colour.
|  |  | dimensions 140x40x200cm |  | 5
| 7 | WARDROBE | Wardrobes made of 18mm chipboard, with 1mm ABS edge banding. Doors are secured with lock and key with “slow motion” system. Wardrobes are on 10cm PVC legs with adjustable height for levelling. Doors and body in white colour, and doors have 1mm ABS edge banding in green colour.
|  |  | dimensions 70x40x200cm |  | 1
| 8 | WORKSPACE FOR ADMINISTRATIVE NEEDS FOR TWO PEOPLE | Desk construction has metal legs. Desktop is made of wear resistant compact board, 10mm. Front made of 18mm chipboard, with 2mm ABS edge banding. Construction of the drawer cabinet made of 18mm chipboard, body in white colour with 0.5mm ABS edge banding, while drawer faces are made of chipboard in green colour with 1mm ABS edge banding. Drawer cabinet with metal handles and lock, on PVC wheels.
|  |  | dimensions 250x60x75cm |  | 1
| 9 | RECEPTION AND ADMINISTRATION DESK | Main construction made of 18mm chipboard, with 1mm ABS edge banding. Desktop is made of wear resistant compact board, 10mm. Desk comes with two movable drawer cabinets in white colour with faces in green colour. Desk in white with details in green chipboard.
|  |  | dimensions (170+150)x60(40)x90)cm |  | 1
| 10 | SET OF LOCKERS FOR STORAGE OF MATERIALS | Lockers made of 18mm chipboard, with 1mm ABS edge banding. Doors are secured with lock and key with “slow motion” system. Lockers are on 10cm PVC legs with adjustable height for levelling. Doors and body in white colour, and doors have 1mm ABS edge banding in green colour.
|  |  | dimensions 320x40x200cm |  | 2
| 11 | SET OF BASE UNITS FOR ADMINISTRATION | Cabinet made of 18mm chipboard in white colour, body with 0.5mm ABS edge banding, and doors with 1mm ABS edge banding. Metal handle in grey colour. Legs, 10 cm high, with adjustable height for levelling.
|  |  | dimensions 100x40x90cm |  | 3
| 12 | NEUTRAL CLOSED WORKSPACE WITH SLIDING DOORS | Material INOX. Workspace consists of base elements with doors and drawers. Base elements are secured with a locking system.
|  |  | dimensions 125x70x90cm |  | 1
| 13 | OFFICE CHAIR, MOVABLE, WITH HEIGHT ADJUSTMENT AND ARMRESTS | Chrome-plated base construction with PVC wheels. The cylinder contains a gas pressure spring and metal sleeve. Seat, PVC and mesh. PVC armrests with chrome-plated part. Mechanism with lever for adjusting the gas pressure spring and recline and backrest. Height-adjustment mechanism. Seat made of upholstered foam, backrest made of mesh + PVC. Possible to choose the colour.
|  |  | dimensions 61x63x120cm |  | 32
| 14 | COFFEE TABLE | Main construction made of 18mm chipboard, with 1mm ABS edge banding.
|  |  | dimensions 102x65x47cm |  | 6
| 15 | CLUB CHAIR WITH ARMRESTS | Used as part of the club set in combination with coffee table or without it in all official and similar premises for work or interviews. Possible to choose the colour.
|  |  | dimensions 68x68x75cm |  | 5
| 16 | WAITING ROOM CHAIR WITH ARMRESTS | Typical use in all health care and other premises where waiting is necessary. Ergonomic and ensures comfortable seating. Chair seat, backrest and armrests are made of materials suitable for washing and disinfection. Depending on the interior design and actual premises, it is possible to combine two-seat and three-seat and four-seat sets. Base metal construction of the sets without sharp corners, round, ⌀40mm.
Seat and backrest are separate for each sitting place, with wooden base upholstered in foam with thickness of min. 5cm. Seat and backrest have foam and are upholstered in eco leather. Possible to choose the colour.
|  |  | dimensions 60x55x45cm |  | 12
| 17 | LOUNGE CHAIR | Armchair made of steel construction which ensures strength and durability. Inside the armchair there are lattoflex slats which provide both the comfort and conversion into a sleeper. Armchair cover Soft can easily be removed and returned after washing. Possible to choose the colour.
|  |  | dimensions 85x110x90cm |  | 2
| 18 | TWO-SEAT SOFA | Two-seat sofa made of steel construction which ensures strength, stability and durability. Inside the two-seat sofa there are lattoflex slats which provide both the comfort and conversion into a sleeper. Two-seat sofa cover Soft can easily be removed and returned after washing. Possible to choose the colour.
|  |  | dimensions 125x110x90cm |  | 2
| 19 | DESK FOR ADMINISTRATIVE NEEDS | Desk construction has metal legs. Desktop is made of wear resistant compact board, 10mm. Front made of 18mm chipboard, with 1mm ABS edge banding. Construction of the drawer cabinet made of 18mm chipboard, body in white colour with 0.5mm ABS edge banding, while drawer faces are made of chipboard in green colour with 1mm ABS edge banding. Drawer cabinet with metal handles and lock, on PVC wheels. Cabinet made of 18mm chipboard in white colour, body with 0.5mm ABS edge banding, and doors with 1mm ABS edge banding. Metal handle in grey colour. Legs, 10 cm high, with adjustable height for levelling.
|  |  | dimensions 200x60x75cm |  | 1
|  |  | dimensions 160x60x75cm |  | 2
|  |  | dimensions 180x60x75cm |  | 1
|  |  | dimensions 100x60x75cm |  | 3
|  |  | dimensions 150x60x75cm |  | 3
| 20 | CONFERENCE TABLE | The main construction of the table consists of metal legs. Tabletop made of 18mm chipboard, with 2mm ABS edge banding. Tabletop is melamine faced chipboard in white colour.
|  |  | dimensions 140x80x75cm |  | 2
| 21 | RECEPTION AND ADMINISTRATION DESK | Main construction made of 18mm chipboard, with 1mm ABS edge banding, while legs are made of metal. Workspace is made of wear resistant compact board, 10mm thick. Desk has movable drawer cabinets.
|  |  | dimensions 160x85x75(115)cm |  | 1
| 22 | RESTAURANT-DINING TABLE | Table top made of compact board in white colour 10mm thick. The top is fixed to the table leg with diameter of 60mm and metal round base.
|  |  | dimensions 60x60x75cm |  | 1
|  |  | dimensions 80x80x75cm |  | 10
| 23 | RESTAURANT-DINING CHAIR | Used for rest, in dining room and other premises. Chair made of polypropylene with aluminum legs.
|  |  | dimensions 50x50x80 |  | 59
| 24 | BASE CABINET | Body made of 18mm chipboard, with 0.5mm ABS edge banding. Base cabinet consists of drawers and doors. The worktop is a 28mm thick board. Doors made of MDF with white coating.
|  |  | dimensions 90x60x75cm |  | 1
| 25 | WALL-MOUNTED HOOK | Hook is chrome-plated with two prongs.
|  |  | dimensions 10x10x5cm |  | 5
| 26 | SET OF SHELF UNITS FOR STORAGE OF MATERIALS (MEDICINES) | Construction made of 18mm chipboard in white colour, with 1mm ABS edge banding. Upper part of the unit consists of two glass doors, while the lower part is made of full chipboard. Both parts are secured with lock and key and have metal handles. Legs, 10cm high, with adjustable height for levelling.
|  |  | dimensions 60x45x200 |  | 5
| 27 | WORKSPACE WITH BASIN - MINI KITCHEN | Material INOX. The workspace consists of base cabinets with doors. The workspace has a basin with dimensions 60x40x30cm. The workspace comes with electrical stove with two cooktop rings with dimensions 180mm, stove dimensions 35x60x30cm.
|  |  | dimensions 110x60x90cm |  | 3
| 28 | WORKSPACE | Body made of 18mm chipboard, with 0.5mm ABS edge banding. Workspace contains base cabinets with doors and drawers with appropriate dimensions. Worktop with thickness of 28mm, wear-resistant. Cabinets are on 15cm PVC legs. Faces made of 19mm MDF with white PCV coating. Sink with drainboard installed in element D80.
|  |  | dimensions 80x60x90cm |  | 2
|  |  | dimensions 120X60X90 |  | 1
| 29 | SET OF WALL CABINETS (stainless steel) | Construction consists of inox box profiles 30x30mm. Inox sheet with thickness of 0.8mm. Wall cabinets have shelves that can be moved to adjust height. Cabinets are closed with full sliding doors with secure locking system.
|  |  | dimensions 350x30x60(90)cm |  | 1
| 30 | SET OF WALL CABINETS | Body made of chipboard, with 0.5mm ABS edge banding. The set contains wall cabinets with widths of 30, 40, 60 and 80cm, and every set has an 80cm cabinet with glass doors. “Slow motion” closing system. Body made of melamine faced chipboard in white colour, while doors are made of 19mm PVC laminated MDF in white colour.
|  |  | dimensions 200x30x72cm |  | 3
|  |  | dimensions 180x30x72cm |  | 1
|  |  | dimensions 250x30x72cm |  | 1
|  |  | dimensions 240x30x72cm |  | 1
|  | TOTAL NEUROLOGY: |  |  |  |  | 0
| 2.3 | PEDIATRICS
| 1 | SHELF UNIT FOR STORAGE OF ARCHIVE MATERIAL | Shelf unit has 6 levels of shelves. Shelves are placed on four profiles which make up the main construction, with adjustable height of shelves. The load capacity of each shelf is 150kg. Shelf unit is open, has no doors or sides. The shelf unit supported from the back or from the sides.
|  |  | dimensions 80x45x200cm |  | 8
| 2 | LOCKER FOR PERSONAL CLOTHES | Locker made of sheet steel with thickness of 0.8mm. Doors have ventilation openings. Locking with a cylinder lock.
|  |  | dimensions 30x50x180cm |  | 45
| 3 | WALL CANTILEVER SHELF BRACKET WITH SHELVES ABOVE THE WORKSPACE | The construction made of box profiles 30x30mm and cantilever shelf brackets anchored into the wall. There are two shelves and they are placed one under the other at the eqal distance.
|  |  | dimensions 110x30x60cm |  | 7
| 4 | SHELF UNIT FOR STORAGE OF CLEAN MATERIAL | Shelf unit has 6 levels of shelves. Shelves are placed on four profiles which make up the main construction, with adjustable height of shelves. The load capacity of each shelf is 150kg. Shelf unit is open, has no doors or sides. The shelf unit supported from the back or from the sides.
|  |  | dimensions 60x45x200cm |  | 2
| 5 | WORKSPACE WITH BASIN | The main construction of the workspace with basin consists of inox profile 30x30mm. Basin with dimensions of 80x50x30cm is installed on the workspace. Shelf is placed in the lower part at 30cm from the floor. At the basin drain there is a manual valve which allows water to stay in the basin.
|  |  | dimensions 110x60x90cm |  | 1
| 6 | SET OF WALL CABINETS | The set contains wall cabinets with widths of 40, 60 and 80cm. Body is chipboard with 0.5mm ABS edge banding, and doors have the “slow motion” closing system. Doors made of MDF with white coating.
|  |  | dimensions 60x30x72 |  | 3
|  |  | dimensions 50X30X72cm |  | 1
| 7 | SET OF WALL CABINETS | The set contains wall cabinets with widths of 40, 60 and 80cm. Body is chipboard with 0.5mm ABS edge banding, and doors have the “slow motion” closing system. Doors made of MDF with white coating.
|  |  | dimensions 160x30x72cm |  | 1
| 8 | SET OF WALL CABINETS | The set contains wall cabinets with widths of 40, 60 and 80cm. Body is chipboard with 0.5mm ABS edge banding, and doors have the “slow motion” closing system. Doors made of MDF with white coating.
|  |  | dimensions 180x30x72cm |  | 10
| 9 | SET OF SHELF UNITS/WARDROBES FOR ADMINISTRATION | Shelf unit/wardrobe construction made of 18mm chipboard, with 1mm ABS edge banding. Shelf unit/wardrobe is made of two parts, with one being a wardrobe, and the other consisting of evenly distributed shelves for documents. Shelf unit/wardrobe is on 10cm PVC legs. Wardrobe door secured with lock and key, with “slow motion” closing system. Body and doors made of melamine faced chipboard in white colour. Wardrobe door with edge banding in green colour.
|  |  | dimensions 180x60x200cm |  | 8
| 10 | SET OF CABINETS FOR WORK WITH BABIES WITH WALL CABINET | Main construction made of 18mm chipboard, with 2mm ABS edge banding. Has a drawer with pull-out rail mechanism and door with slow-motion system. The doors are secured with a key and lock. The top is upholstered in antibacterial artificial leather. The body is made of melamine faced chipboard in white colour, and faces are in white and blue colour (wall and base cabinet).
Wall cabinet 80x60x87cm;
|  |  | Base cabinet 80x30x90cm |  | 5
| 11 | WALL-MOUNTED HOOK RACK | Hook rack made of 18mm chipboard in white colour, with 1mm ABS edge banding. In the upper part there are 6 evenly spaced hooks for clothes.
|  |  | dimensions 60x3x180cm |  | 24
| 12 | LOCKER FOR ADMINISTRATION | Locker construction made of 18mm chipboard, with 1mm ABS edge banding. The locker has evenly spaced shelves for documents. Locker is on 10cm PVC legs. Locker door secured with lock and key, with “slow motion” closing system.
|  |  | dimensions 140+75x60x75+200cm |  | 4
| 13 | WORKING DESK FOR ADMINISTRATIVE NEEDS | Desktop made of 10mm wear-resistant compact board is on metal legs. Under the desktop is a movable drawer cabinet with three drawers. Next to the desktop is a cabinet made of 18mm chipboard with shelves.
|  |  | dimensions 140x60x75cm |  | 4
| 14 | RECEPTION AND ADMINISTRATION DESK | Main construction made of 18mm chipboard, with ABS edge banding, while legs are made of metal. Workspace is made of wear resistant compact board, 10mm thick. Desk has movable drawer cabinets.
|  |  | dimensions 200x85x75(115)cm |  | 1
| 15 | WARDROBE FOR ACCESSORIES AND PERSONAL CLOTHES OF PATIENTS | Wardrobe construction made of 18mm chipboard, with 1mm ABS edge banding. Wardrobe is made of two parts, with one being a wardrobe, and the other consisting of evenly distributed shelves for documents. Wardrobe is on 10cm PVC legs. Wardrobe door secured with lock and key, with “slow motion” closing system. Body and doors made of melamine faced chipboard in white colour. Wardrobe door with edge banding in green colour.
|  |  | dimensions 100x60x200cm |  | 2
|  |  | dimensions 150x60x200cm |  | 2
| 16 | BASE CABINET | Body made of 18mm chipboard, with 0.5mm ABS edge banding. Base cabinet consists of drawers and doors. The worktop is a 28mm thick board. Doors made of MDF with white coating. Cabinet is on 15cm PVC legs.
|  |  | dimensions 100x60x90cm |  | 10
| 17 | ONE-PIECE DESK | Desk construction has metal legs. Desktop is made of wear resistant compact board, 10mm. Front made of 18mm chipboard, with 2mm ABS edge banding. Construction of the drawer cabinet made of 18mm chipboard, body in white colour with 0.5mm ABS edge banding, while drawer faces are made of chipboard in green colour with 1mm ABS edge banding. Drawer cabinet with metal handles and lock, on PVC wheels.
|  |  | dimensions 150x70x75cm |  | 5
|  |  | dimensions 120x50x75cm |  | 10
| 18 | OFFICE CHAIR, MOVABLE, WITH HEIGHT ADJUSTMENT AND ARMRESTS | Chrome-plated base construction with PVC wheels. The cylinder contains a gas pressure spring and metal sleeve. Seat, PVC and mesh. PVC armrests with chrome-plated part. Mechanism with lever for adjusting the gas pressure spring and recline and backrest. Height-adjustment mechanism. Seat made of upholstered foam, backrest made of mesh + PVC. Possible to choose the colour.
|  |  | dimensions 60x60x120cm |  | 30
| 19 | COFFEE TABLE | Main construction made of 18mm chipboard, with 1mm ABS edge banding.
|  |  | dimensions 102x64x47cm |  | 11
| 20 | CLUB CHAIR WITH ARMRESTS | Used as part of the club set in combination with coffee table or without it in all official and similar premises for work or interviews. Possible to choose the colour.
|  |  | dimensions 70x70x75cm |  | 8
| 21 | WAITING ROOM CHAIR WITH ARMRESTS | Typical use in all health care and other premises where waiting is necessary. Ergonomic and ensures comfortable seating. Chair seat, backrest and armrests are made of materials suitable for washing and disinfection. Depending on the interior design and actual premises, it is possible to combine two-seat and three-seat and four-seat sets. Base metal construction of the sets without sharp corners, round, ⌀40mm.
Seat and backrest are separate for each sitting place, with wooden base upholstered in foam with thickness of min. 5cm. Seat and backrest have foam and are upholstered in eco leather. Possible to choose the colour.
|  |  | dimensions 60x55x46cm |  | 35
| 22 | LOUNGE CHAIR | Armchair made of steel construction which ensures strength and durability. Inside the armchair there are lattoflex slats which provide both the comfort and conversion into a sleeper. Armchair cover Soft can easily be removed and returned after washing. Possible to choose the colour.
|  |  | dimensions 85x110x90cm |  | 27
| 23 | TWO-SEAT SOFA | Two-seat sofa made of steel construction which ensures strength, stability and durability. Inside the two-seat sofa there are lattoflex slats which provide both the comfort and conversion into a sleeper. Two-seat sofa cover Soft can easily be removed and returned after washing. Possible to choose the colour.
|  |  | dimensions 125x110x90cm |  | 1
| 24 | TWO-PIECE DESK WITH COMPUTER CABINET | Desk construction has metal legs. Desktop is made of wear resistant compact board, 10mm. Front made of 18mm chipboard, with 2mm ABS edge banding. Construction of the drawer cabinet made of 18mm chipboard, body in white colour with 0.5mm ABS edge banding, while drawer faces are made of chipboard in green colour with 1mm ABS edge banding. Drawer cabinet with metal handles and lock, on PVC wheels.
|  |  | dimensions 180x90x75cm |  | 1
| 25 | CONFERENCE TABLE | The main construction of the table consists of metal legs. Tabletop made of 18mm chipboard, with 2mm ABS edge banding. Tabletop is melamine faced chipboard in white colour.
|  |  | dimensions 140x80x75cm |  | 1
| 26 | CONFERENCE CHAIR | Used as integral part in conference rooms in combination with conference table. Ergonomic and ensures comfortable seating. The base is chrome-plated. Seat and backrest have foam and are upholstered. Armrests chrome-plated in combination with upholstery. Foam upholstered in microfibre. Possible to choose the colour.
|  |  | dimensions 48-60x49x100-110cm |  | 9
| 27 | RESTAURANT-DINING TABLE | Table top made of compact board in white colour 10mm thick. The top is fixed to the table leg with diameter of 60mm and metal round base.
|  |  | dimensions 80x80x75cm |  | 13
| 28 | RESTAURANT-DINING CHAIR | Used for rest, in dining room and other premises. Chair made of polypropylene with aluminum legs.
|  |  | dimensions 50x50x80 |  | 35
| 29 | TELEVISION SET | TV set series DSA314, SCREEN DIMENSION 32 INCH OR 81 CM, Screen type Direct Led slim, tuner DVB-T/C/52; 3D -NO;SMART-NO;WI-FI NO; Ports: HDMI 2X; USB 2X; AV input, CI Mini YPBpR In; COAX AUT
|  |  | 32" |  | 19
| 30 | WALL-MOUNTED HOOK | Hook is chrome-plated with two prongs.
|  |  | dimensions 10x10x5cm |  | 14
| 31 | SET OF SHELF UNITS FOR STORAGE OF MATERIALS (MEDICINES) | Construction made of 18mm chipboard in white colour, with 1mm ABS edge banding. Upper part of the unit consists of two glass doors, while the lower part is made of full chipboard. Both parts are secured with lock and key and have metal handles. Legs, 10cm high, with adjustable height for levelling.
|  |  | dimensions 60x45x200 |  | 6
| 32 | WORKSPACE WITH BASIN - MINI KITCHEN | Material INOX. The workspace consists of base cabinets with doors. The workspace has a basin with dimensions 60x40x30cm. The workspace comes with electrical stove with two cooktop rings with dimensions 180mm, stove dimensions 35x60x30cm.
|  |  | dimensions 110x60x90cm |  | 4
| 33 | BATHROOM WALL CABINET | Cabinet made of 19mm MDF with white PCV coating. Body made of chipboard, with 0.5mm ABS edge banding.
|  |  | dimensions 40x30x70cm |  | 2
|  |  | dimensions 50x30x70cm |  | 5
|  |  | dimensions 60x30x70cm |  | 11
| 34 | COFFEE TABLE SET | Coffee tables have three parts. Made of melamine faced chipboard with thickness of 25 and 18mm.
|  |  | dimensions 45x38x48cm |  | 8
| 35 | LOCKERS | Construction made of 18mm chipboard in white colour, with 1mm ABS edge banding. Doors made of 18mm chipboard in the colour of choice. Secured with lock and key and with metal handles. Legs, 10cm high, with adjustable height for levelling.
|  |  | dimensions 80x40x120cm |  | 4
| 36 | HALLWAY SHELF UNIT/WARDROBE SET | Shelf unit/wardrobe construction made of 18mm chipboard, with 1mm ABS edge banding. Shelf unit/wardrobe is made of two parts, with one being a wardrobe, and the other consisting of evenly distributed shelves for documents. Shelf unit/wardrobe is on 10cm PVC legs. Wardrobe door secured with lock and key, with “slow motion” closing system. Doors in the colour of choice.
|  |  | dimensions 200x30x200cm |  | 1
| 37 | WALL SHELVES | Made of melamine faced chipboard in white colour, thickness 18mm, with 2mm ABS edge banding.
|  |  | WITH THREE COMPARTMENTS 100x20x20cm |  | 2
|  |  | WITH FOUR COMPARTMENTS 150x20x20cm |  | 1
|  |  | WITH SIX COMPARTMENTS 250x20x20cm |  | 1
| 38 | WALL SHELF | Made of melamine faced chipboard, thickness 18mm, with 2mm ABS edge banding.
|  |  | dimensions 100X40cm |  | 2
| 39 | WORKSPACE | Body made of 18mm chipboard, with 0.5mm ABS edge banding. Workspace contains base cabinets with doors and drawers with appropriate dimensions. Worktop with thickness of 28mm, wear-resistant. Cabinets are on 15cm PVC legs. Doors made of 19mm MDF with white PCV coating. Sink with drainboard installed in the workspace.
|  |  | dimensions 100x60x90cm |  | 2
|  |  | dimensions 200X60X90 |  | 2
|  | TOTAL PEDIATRICS: |  |  |  |  | 0
SUMMARY:
| 2.1 | POLYCLINIC |  |  |  |  | 0
| 2.2 | NEUROLOGY |  |  |  |  | 0
| 2.3 | PEDIATRICS |  |  |  |  | 0
| TOTAL: | [5 empty] | 0

## Furniture 3
Line item No. | ID | Technical Specification Requested |  | Technical Specification Offered | QTY | DAP Unit price | Total Price per line item | Insert page no. in techical documentation
KITCHEN
| 1 | Wall bumper | Made of stainless steel lined chipboard. Used to protect wall surfaces in facility communications. dim. 100x30x4cm. Design specification by drawing. |  | 6
| 2 | Worktop with sink and hotplate | Made of INOX fabric. The work surface consists of supporting elements of appropriate use with doors and drawers and secured locking system. Elements with PVC legs. The space for installation of dishwasher and refrigerator is provided. Stainless steel worktop, mounted 90 cm from the floor , 4cm thick with 5cm height up to the wall, 50x40x30cm trough with built-in 2-ring hotplate, sink with stand-alone hot and cold water battery and PVC drainage siphon. Dim. Whole element 300x70x90cm. Design specification according to the drawing. |  | 1
| 3 | Professional fridge, | Stainless steel, dim.60x58x85cm |  | 1
| 4 | Microwave oven | Digital, professional, stainless steel, 25lit. |  | 1
| 5 | Set of hanging elements | Elements are made of INOX. The elements have shelves that are fixed to the sides of the element. The elements are closed with a full door provided by a locking system. dim. 300x30x60cm. Design specification by drawing. |  | 2
| 6 | Desktop for medical purposes | Made of INOX fabric. The work surface consists of supporting elements of appropriate use with doors and drawers and a secure locking system (possibly a place for a computer, printer, etc.). The elements are with PVC legs. , 4cm thick with a 5cm height to the wall. Dim. Whole element 170x70x90cm. Design specification by drawing. |  | 1
| 7 | Set of hanging elements | Elements are made of INOX. The elements have shelves that are fixed to the sides of the element. The elements are closed with a full door provided by a locking system. dim. 300x30x60cm. Design specification by drawing. |  | 1
| 8 | Sliding door | Made of stainless steel, used to add materials from room to room. Dm. 60x5x75cm i cca 80x5x75cm Design specification by drawing. |  | 2
| 9 | Dishwasher | Has double walls and doors to save energy and reduce noise; Washing capacity at 20 baskets per hour; Bucket size 500x500mm. Max. insertion height 345mm, three wash cycles: 120, 180, 300 sec. Electromechanical control, With pressure boiler. Deposit capacity 18lit, Water consumption per cycle: 2.75lit, with built-in glow pump and detergent withdrawal pump and ejector pump, 2-basket set and 8 liter automatic depurator. Dimensions: 55x60x82,5-84,5cm |  | 2
| 10 | Fridge with freezer compartment | Net refrigerator capacity 177 lit., Net freezer capacity 46 lit. Two doors, Self-heating, Energy class: A +, 4 glass shelves, interior lighting, gray, dim.54x60x146,5 cm |  | 5
| 11 | Electric cooker with 4 rings and oven, | Made entirely of INOX, 1.2mm thick stainless steel, with 4 square 220x220mm 2.6kW rectangular planes, 7-level power regulators for each ring separately, indicator light when the rings are on, power cut-off in case overheating, oven power: 4.7kW, oven capacity: 4x GN 2/1, oven dimensions: 57x65x30cm, total power 15,1kw, dim: 800x700x900mm |  | 1
| 12 | Neutral open desk for reception and storage | Fabrication material stainless steel. The construction of the workbench consists of a metal frame with legs, consisting of 30x30 box profiles. The construction rests on the floor via a rust-proof PVC mat. In the lower part of the structure is a shelf the entire length of the table at a height of 30 cm from the floor. Dimensions of the whole element 210x60x90cm. Special design according to the drawing. |  | 1
| 13 | Neutral closed desk with sliding door | Fabrication material stainless steel. The work surface consists of supporting elements of appropriate use with doors and drawers, open or with sliding doors, etc. Elements with PVC legs. Worktop made of stainless steel, mounted at a height of 90 cm from the floor, 4 cm thick with a height up to wall 5cm. Dimensions of element 120x70x90cm. Design specification by drawing. |  | 3
| 14 | Open work desk for scrap with a hole in the board | Workpiece made of INOX. The construction of the workbench consists of a metal frame with legs, consisting of 30x30 box profiles. The construction is supported on the floor by means of rustproof PVC washers. A worktop of stainless steel with a hole for disposal of waste, placed at a height of 90 cm from the floor, 4cm thick. with elevation to the wall 5cm. Dimension of element 80x70x90cm. Special design according to the drawing. |  | 1
| 15 | Open work desk with sink | Workpiece made of INOX. The construction of the workbench consists of a metal frame with legs, consisting of 30x30 box profiles. The construction is supported on the floor by means of rugged PVC washers. Stainless steel worktop, mounted at a height of 90cm from the floor, 4cm thick with a 5cm height to the wall The sink is with a sink 50x40x30cm.The sink is with a stand-alone battery for hot and cold water and a PVC drainage siphon, with a manual valve on the drainage outlet, which allows water to be held in the sink for the purpose of immersing the washable elements. construction shelf is placed the entire length of the table at a height of 30cm from the floor. Dim. Whole element 200x70x90cm. Special design according to the drawing. |  | 1
| 16 | Open desk with two troughs | Workpiece made of INOX. The construction of the workbench consists of a metal frame with legs, consisting of 30x30 box profiles. The construction is supported on the floor by means of rugged PVC washers. Stainless steel worktop, mounted at a height of 90cm from the floor, 4cm thick with a 5cm height to the wall The pan is with 2 troughs 50x40x30cm.The sink is with a stand-alone one-handed battery for hot and cold water and a PVC siphon for drainage.There is a manual valve on the drainage outlet, which allows water to be retained in the trough for the purpose of immersing the washable elements. Part of the structure is a shelf full length of the table at a height of 30cm from the floor. Dimensions of the whole element 140x70x90cm. Special design according to the drawing. |  | 1
| 17 | Cantilever strainer | Console shelf with perforated insert, on wall mounts, made of stainless steel, used for draining kitchenware and utensils. Mounted on the wall above the sink. Dim. 200x30x4cm. Special design according to the drawing. |  | 1
| 18 | Neutral open desk for reception and storage | Workmanship made of stainless steel. The construction of the workbench consists of a metal frame with legs, consisting of 30x30 box profiles. The construction rests on the floor via a rust-proof PVC mat. In the lower part of the structure is a shelf the entire length of the table at a height of 30 cm from the floor. Dimensions of the whole element 140x70x90cm. Special design according to the drawing. |  | 1
| 19 | Kitchen trolley | Are made entirely of stainless steel. The construction is made of stainless steel pipes, with one platform, with 4 rubber wheels, two of which are with brakes. They are used for the transport of bulky foods and kitchen utensils. dim. 90x60x87cm |  | 2
| 20 | Serving movable table - trolley | Made of stainless steel. Construction of stainless steel tubes, with two recessed shelves, with 4 rubber wheels, two of which are with brakes. They are used to transport utensils, food and beverages from the kitchen to the serving place. dim. 850x540x940mm |  | 4
| 21 | Trolleys for transporting thermoports | Are made of stainless steel with 4 rubber wheels, two of which are with brakes. They are used for transporting thermoports. dim. 65x45x20cm |  | 2
| 22 | Food waste bin | Made of stainless steel, with wheels, levers and lid, without pedal. Cap. 50 lit. dim. Ø 40 h 60 cm |  | 1
| 23 | Wall bracket with shelves | Two cantilever shelves on wall mounts, made of stainless steel, used to dispose of kitchen utensils and materials for kitchen use. Dm. 140x30x60cm. Design specification according to the drawing. |  | 2
| 24 | Shelving for unclean black dishes | The material of INOX construction. The construction of the shelves consists of a metal frame with legs, which consists of 30x30 box profiles. The rack is open, with 5 full shelves. Dim. 80x60x200cm. Special design according to the drawing. |  | 1
| 25 | Shelving for clean black dishes | The material of INOX construction. The construction of the shelves consists of a metal frame with legs, which consists of 30x30 box profiles. The rack is open, with 5 full shelves. Dim. 80x60x200cm. Special design according to the drawing. |  | 3
| 26 | Refrigerator - refrigerator | 600 lit. refrigerator insulated, with stop joint, temperature mode: 0 / + 10 ° C, completely made of stainless steel, INOX, inside and out, with rounded inner edges, one solid door, one chamber, one unit , temperature control, equipped with 3-grid mounts, eco-gas: R134a, insulated monoblock system that ensures uninterrupted operation of the device at temperatures up to 43 ° C, cooling: ventilation (cool-air circulation in the device), digital thermostats for temperature control, thickness of polyurethane insulation 60mm (43 kg / m³), automatic self-heating, door locks, HACCP control system. Dim. 70x70x210 cm |  | 2
| 27 | Food Cartridges - Heated | Made of stainless steel. It is used for the transfer of cooked food, etc. in relation to the central kitchen-receiving kitchen of the institute-distribution kitchen of the department. Temperature range +30 doC to +90 ̊C, 250w power. Dm. 39x37x46 cm. |  | 4
| 28 | Food cassettes - thermoport | Used for the transfer of bread, pastries, etc. in relation to the central kitchen-receiving kitchen of the institute-the department's distribution kitchen. GN1 / 1 or GN1 / 2. Dm. 64x44x61 cm. |  | 2
| 29 | Food cassettes - thermoport | Used for the transfer of bread, pastries, etc. in relation to the central kitchen-receiving kitchen of the institute-the department's distribution kitchen. GN1 / 1 or GN1 / 2. Dm. 65x45x60 cm. |  | 2
| 30 | Food waste bin | Made of stainless steel, with wheels, levers and lid, without pedal. Cap. 50 lit. dim. Ø 40 h 60 cm |  | 4
|  | TOTAL KITCHWN: |  |  |  |  | 0