**AMENDMENT No. 6 TO PROCUREMENT DOCUMENTS**

**Issued on** **01st of Jun 2020**

**FOR** **THE PROCUREMENT OF EQUIPMENT FOR MOTHER AND CHILD INSTITUTE „DR VUKAN ČUPIĆ”**

**NO. IOP/38-2019/UHI**

In accordance with the Clause 8. Part 1. Bidding Procedures, Section I. Instructions to Bidders, Contents of Bidding Documents, Amendment of Bidding Documents of the Procurement Documents, Public Investment Management Office, No. 11 Nemanjina street, Republic of Serbia, as the Purchaser, hereby notifies all persons concerned for Procurement of equipment for Mother and Child Institute „Dr Vukan Čupić”, No. IOP/38-2019/UHI, that there has been an amendment made in the Procurement Documents.

The following provisions of Tender Documents are hereby replaced as follows:

1. **Due to technical error in Technical Specification, Lot 7 - SURGICAL INSTRUMENTS, Line item No. 7.43 - Bulldog clamp set, is replaced as follows:**

|  |  |  |  |
| --- | --- | --- | --- |
| **Line item No.** | **ID**  | **Technical Specification Requested** | **QTY** |
| **7.43** |  | **Bulldog clamp set** | **1** |
|   | 1 | DE'BAKEY ATR.BULLDOGCLAMP STR.20/50MM | 2 |
| 2 | DE'BAKEY ATR.BULLDOGCLAMP CVD.20/50MM | 2 |
| 3 | MICRO ATR.BULLDOGCLAMP CVD.20/60MM | 2 |
| 4 | DE'BAKEY-SATINSKY ATR.BULLDOGCL.21/75MM | 2 |
| 5 | DE'BAKEY-SATINSKY ATR.BULLDOGCL.42/100MM | 2 |
| 6 | MICRO ATR.BULLDOGCLAMP ANG.10/45MM | 2 |
| 7 | MICRO ATR.BULLDOGCLAMP ANG.14/50MM | 2 |
| 8 | DE'BAKEY ATR.BULLDOGCLAMP STR.25/80MM | 2 |
| 9 | DE'BAKEY ATR.BULLDOGCLAMP CVD.25/80MM | 2 |
| 10 | DE'BAKEY ATR.BULLDOGCLAMP STR.30/90MM | 2 |
| 11 | DE'BAKEY ATR.BULLDOGCLAMP CVD.30/90MM | 2 |
| 12 | DE'BAKEY ATR.BULLDOGCLAMP STR.45/105MM | 2 |
| 13 | DE'BAKEY ATR.BULLDOGCLAMP CVD.45/105MM | 2 |
| 14 | GLOVER ATR.BULLDOGCLAMP ANG.20/52MM | 2 |
| 15 | GLOVER ATR.BULLDOGCLAMP STR.25/68MM | 2 |
| 16 | GLOVER ATR.BULLDOGCLAMP CVD.25/68MM | 2 |
| 17 | GLOVER ATR.BULLDOGCLAMP STR.40/97MM | 2 |
| 18 | GLOVER ATR.BULLDOGCLAMP CVD.20/40MM | 2 |
| 19 | GLOVER ATR.BULLDOGCLAMP CVD.30/60MM | 2 |
| 20 | COOLEY ATR.BULLDOGCLAMP STR.20/50MM | 2 |
| 21 | DIETHRICH MICRO BULLDOGCLAMP STR.16/52MM | 2 |
| 22 | COOLEY ATR.BULLDOGCLAMP STR.45/85MM | 2 |
| 23 | MICRO DIETHRICH BULLDOGCLAMP STR.20/55MM | 2 |
| 24 | BIEMER VESSEL CLIP 6MM 30-40G FORCE | 2 |
| 25 | BIEMER VESSEL CLIP 9MM 30-40G FORCE | 2 |
| 26 | BIEMER VESSEL CLIP 9MM 20-25G FORCE | 2 |
| 27 | APPLYING FORCEPSF/BIEMER W/LOCK145MM | 1 |
| 28 | BIEMER-MUELLER APPROXIMATOR STR 9MM | 2 |

Public Procurement Committee