**AMENDMENT No. 2 TO PROCUREMENT DOCUMENTS**

**Issued on** **17th of April 2020**

**for** **the Procurement of Radiotherapy and Diagnostic equipment, Belgrade no.**

**IOP/36-2019/RD**

In accordance with the Clause 8. Part 1. Bidding Procedures, Section I. Instructions to Bidders, Contents of Bidding Documents, Amendment of Bidding Documents of the Procurement Documents, Public Investment Management Office, No. 11 Nemanjina street, Republic of Serbia, as the Purchaser, hereby notifies all persons concerned for Procurement of Radiotherapy and Diagnostic equipment, Belgrade no. IOP/36-2019/RD**,** that there has been an amendment made in the Procurement Documents.

The following provisions of Tender Documents are hereby replaced as follows:

**LOT 2**

**1. Tender Documents are changed in Section Technical Specification with Price Schedule . Item No. 2 CT Scanner, line 7.2**

**It is replaced and reads as follows:**

3D SSD (shaded surface display)

**2. Tender Documents are changed in Section Technical Specification with Price Schedule . Item No. 4 and Item No. 5, line 2.3**

**It is replaced and reads as follows:**

Anode material: Tungsten or Molybdenum (Mo) Rhodium (Rh)

**3. Tender Documents are changed in Section Technical Specification with Price Schedule . Item No. 4 and Item No. 5, line 2.5**

Anode rotation speed min.9000 r.p.m

This Amendment to Procurement Documents is a constituent part of the **Procurement of Radiotherapy and Diagnostic equipment, Belgrade no. IOP/36-2019/RD** and will be posted on the Purchaser’s web site: <http://www.obnova.gov.rs/english/public-procurement>.

In all other aspects, the Tender documentation for the **Procurement of Radiotherapy and Diagnostic equipment, Belgrade no. IOP/36-2019/RD,** remains unchanged.

In order to submit a responsive bid, bidders are expected to prepare their offers in accordance with this amendment.

Public Procurement Commission