**DIAGNOSTIC AND INTERVENTION IMAGING EQUIPMENT FOR CLINICAL CENTER ZEMUN**

**(PROCUREMENT NO. IOP/37-2019/UHI)**

**CLARIFICATION NO. 4**

Issued on March 02, 2020

Regarding the list of questions that the Purchaser, Public Investment Management Office Belgrade, No. 11 Nemanjina street, have received from the potential bidders, concerning the procurement procedure: Procurement of Diagnostic and Intervention Imaging Equipment for Clinical Center Zemun no. IOP/37-2019/UHI, we give you the following answers:

**Question 1:**

On page 38 and 39, pondering criteria, under item 4) for angiography system it is requested

P4 Maximum mA value for pulsed fluoroscopy 5

Please clarify if purchaser will evaluate maximum mA value for pulsed fluoroscopy with small focal spot, because pulsed fluoroscopy is mainly done with small focal spot.

**Answer 1:**

Yes, purchaser will evaluate maximum mA value for pulsed fluoroscopy with small focal spot.

Public Procurement Committee