## 6 Portable Mass Spectrometer
Bidder: |  | Offered price:
LOT 6 - Portable Mass Spectrometer
ID | Equipment name | QTY | Model, Manufacturer and Country of Origin | Total Price per line item
Portable Mass Spectrometer
6.1 | Portable Mass Spectrometer | 1
Total Price per Lot

## 6.1 Portable MS
Bidder:
Date:
Total DAP price:
Line item No. | ID | Technical Specification Requested | Technical Specification Offered | QTY | DAP Unit price | Total Price per line item | Insert page no. in techical documentation
| 6.1 | Portable Mass Spectrometer
| 1 | 300 amu Portable Mass Spectrometer System |  | 1
| 1.1 | Quadrupole Mass Spectrometer equipped with high pressure enclosed ion source, ceramic gas tight seal, twin Yttria filaments, minimum 100 mm length mass filter and dual Faraday / channeltron electron multiplier detector arrangement.
| 2 | Close coupled electronics unit containing ion source supplies, RF/DC board and communications board. Communication to PC must be TCP/IP ethernet.
| 3 | Analyser housing with direct gas injection into ion source.
| 4 | ISO63-K pumping port and CF40 analyser and inlet flanges.
| 5 | 2m fused silica capillary inlet, heated to 110 °C, coupled to sintered leak technology.
| 6 | Membrane inlet with high sensitivity for VOCs interchangeable with capillary inlet.
| 7 | 80 l/s high compression turbomolecular pump with molecular drag stage and ISO63-K pump flange.
| 8 | Dry diaphragm pump with pumping capacity of 1.8 m3/h, backing turbo pump and providing the interstage line for the sintered leak.
| 9 | External switches for capillary inlet and bakeout jacket.
| 10 | Safety interlock to prevent inadvertent operation.
| 11 | Whole vacuum system and electronics mounted on an easily removable chassis for ease of service.
| 12 | Complete system must be housed in a compact, portable suitcase-type enclosure such as Peli or equivalent.
| 13 | System must be capable of 90-240V AC mains operation and 24 V DC battery pack operation.
| 14 | System must be supplied with one field power pack to allow minimum 8-hour operation.
| 15 | Field power pack must have one charging cable, connection cable to MS and one vehicle adapter cable.
| 16 | System spares kit must include the following support parts: spare dual filament for ion source, 1 off capillary inlet, 1 off metrasil sintered leak, pack of 10 assorted PTFE ferrules, 2 off nut tube assembly, PTFE capillary, analyser stand, fan filter kit, 1 off membrane inlet, 1 off 1/4 inch OD stainless steel tube 1m long, 4 off 1/4 inch ultratorr fitting, 10 off stainless steel washers (9-10 mm OD, 6-7 mm ID, max 1 mm thickness), 3 off non-reinforced SIL-TEC PDMS sheeting (0.005 inch thickness), 3 off non-reinforced SIL-TEC PDMS sheeting (0.002 inch thickness), 5 off 3/8 inch stainless steel porous frits (10 um porosity), 2 off 1/4 inch quarter turn valve, 4 off 1/4 inch stainless steel union tee fitting, 2 off 1/4 inch stainless steel bulkhead union tube fitting, 4 off 1/4 inch stainless steel metering valve, pack of 10 assorted stainless steel ferrules, 2 off stainless steel 1/4 inch nuts.
| 17 | A suitable MS software must be provided for the system with the following features: 1. Analogue scan with reference subraction facility. 2. Bargraph scan with reference subtraction facility. 3. Multiple ion or peak jumping facility for up to 64 species. 4. Quantitative analysis with alarm function. 5. Comprehensive data review software package. 6. Ability to tune mass spectrometer via the software. 7. Ability to set user permissions.
| 18 | Laptop PC to be provided with the following specification: 1. 15.6 inch screen 2. Core i3 processor or higher 3. 4GB RAM or more 4. 500GB HD or more 5. Windows 10 installed 6. MS software installed and fully configured
| 19 | On-board user manual must be provided with the system.
| 20 | Warranty: 18 months parts and labour. Consumables (filaments, electron multipliers, inlet components) are not covered.
| 21 | Availability of the spare parts for 7 years.
| 22 | Delivery time: 8 Weeks
| 23 | Response time for failure notification – 72 (seventy-two) hours
| 24 | Maximum period for repair and replacement from the moment of declaring - 3 (three) months