**Price Schedule – Medical Imaging Equipment – Lot 2**

1. **Magnetic resonance system 1.5T equipped and suitable for whole body examinations for Clinical Hospital Center „Zemun“**

|  |  |  |  |
| --- | --- | --- | --- |
| **Line Number** | **Specifications Required** | **Unit costs (DAP + unloaded)** | **Currency**  **EUR/USD/RSD** |
| **1.-8.** | **Magnetic resonance system 1.5T** |  |  |
| **9.** | **ADDITIONAL EQUIPMENT (9.1.-9.4.)** |  |  |
| 9.1. | RF cabin for electromagnetic protection (damping value of min 90dB). RF cabin contains complete cabin with antistatic floor, door, window, antimagnetic lightening, all necessary filters, also with connections for gases supply of the anesthesia system, and all final works, for running requirements of MR scanner for work with the patients |  |  |
| 9.2. | Chiller for MR gradient system cooling |  |  |
| 9.3. | Injector for MR procedures |  |  |
| 9.4. | Antimagnetic stretcher for patient transport |  |  |
| **10.** | **OTHER REQUIREMENTS FOR BIDDER (INSTALLATION AND TRAINING) (10.4.+10.5.)** |  |  |
| 10.4. | Installation of the offered system- "Turnkey" project (preparation of facilities- technical room, examination room and control room. HV cable from HV substation to technical room has to be provided by Beneficiaries). |  |  |
| 10.5. | 10 days on site training for staff (doctors and technicians) who will work on the system |  |  |
|  | **CONTRACT PRICE (1.-8.+9.+10.)** |  |  |

1. **Digital angiography X-ray system for diagnostic cardiac and interventional procedures for Clinical Hospital Center „Zemun“**

|  |  |  |  |
| --- | --- | --- | --- |
| **Line Number** | **Specifications Required** | **Unit costs (DAP + unloaded)** | **Currency**  **EUR/USD/RSD** |
| **1.-8.** | **Digital angiography X-ray system** |  |  |
| **9.** | **ADDITIONAL EQUIPMENT (9.1.+9.2.)** |  |  |
| 9.1. | Injector for angio-procedures |  |  |
| 9.2. | System for hemodynamic measurements (9.2.1.-9.2.16.) |  |  |
| **10.** | **OTHER REQUIREMENTS FOR BIDDER (INSTALLATION AND TRAINING) (10.4.+10.5.)** |  |  |
| 10.4. | Installation of the offered system – “Turnkey” project (preparation of facilities-technical room, examination room and control room. HV cable from HV substation to technical room has to be provided by Beneficiaries) |  |  |
| 10.5. | 10 days on site training for staff (doctors and technicians) who will work on the system |  |  |
|  | **CONTRACT PRICE (1.-8.+9.+10.)** |  |  |

1. **Digital radiography system for Clinical Hospital Center „Zemun“**

|  |  |  |  |
| --- | --- | --- | --- |
| **Line Number** | **Specifications Required** | **Unit costs (DAP + unloaded)** | **Currency**  **EUR/USD/RSD** |
| **1.-7.** | **Digital radiography system** |  |  |
| **8.** | **OTHER REQUIREMENTS FOR BIDDER (INSTALLATION AND TRAINING) (8.3.+8.4.)** |  |  |
| 8.3. | Installation of the offered system- “Turnkey” project (preparation of facilities- technical room, examination room and control room. HV cable from HV substation to technical room has to be provided by Beneficiaries) |  |  |
| 8.4. | 5 days on site training for staff (doctors and technicians) who will work on the system |  |  |
|  | **CONTRACT PRICE (1.-7.+8.)** |  |  |

1. **Premium Cardiovascular ultrasound system for Clinical Hospital Center „Zemun“**

|  |  |  |  |
| --- | --- | --- | --- |
| **Line Number** | **Specifications Required** | **Unit costs (DAP + unloaded)** | **Currency**  **EUR/USD/RSD** |
| **1.-4.** | **Premium Cardiovascular ultrasound system** |  |  |
| **5.** | **OTHER REQUIREMENTS FOR BIDDER (TRAINING) (5.2.)** |  |  |
| 5.2. | 5 days on site training for staff who will work on the system |  |  |
|  | **CONTRACT PRICE (1.-4.+5.)** |  |  |