## 6 Mask Aligner Upgrade
Bidder: |  | Offered price:
LOT 6 - Mask Aligner Upgrade
ID | Equipment name | QTY | Model, Manufacturer and Country of Origin | Total Price per line item
Mask Aligner Upgrade
6.1 | Upgrade for mask aligner SUSS MJB4 | 1
Total Price per Lot

## 6.1 SUSS MJB4 upgrade
Bidder:
Date:
Total DAP price:
Line item No. | ID | Technical Specification Requested | Technical Specification Offered | QTY | DAP Unit price | Total Price per line item | Insert page no. in techical documentation
Upgrade for mask aligner SUSS MJB4
| 6.1 | Upgrade for mask aligner SUSS MJB4 |  | 1
| 1 | Maskaligner SUSS MJB4 Microscope upgrade: • SUSS M604 SPLITFIELD MICROSCOPE IR/BRIGHTFIELD • using 2 (two) IR cameras capable for visible and IR alignment; • trinocular tube for direct viewing and camera adaption; • 2 (two) IR and visible specific objectives 5x magnification; • 2 eyepieces (10x); • 2 (two) turrets for three objectives (each);
| 2 | IR illumination: • fully integrated IR-illumination for transmitted IR alignment via top side microscope; • including corresponding chuck for vacuum contact mode and IR alignment; 1x for handling of 1” wafer, 1x for handling of 100 mm wafer diameter • IR-chuck adaption
| 3 | Installation, Services & warranty: • Installation and upgrade of the system on site by a SUSS certified engineer • Preventive maintenance of the complete system by a SUSS certified engineer • Function test report; • Operator introduction by a SUSS certified engineer • 1 year full warranty on installed new parts
| 4 | Other technical data: - the guarantee is provided by the producer of the equipment - the supplier shall have a partner located in the country of final destination for first line contact
| 5 | Delivery time: 10 weeks
| 6 | Response time for failure notification – 24 (twenty-four) hours